{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["一、开标一览表","二、分项报价表","三、偏离表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"一、开标一览表","index":0,"n_rows":8,"n_cols":13,"rows_kept":8,"merged":[[0,0,0,11],[1,0,1,7],[4,0,4,4],[5,0,5,5],[6,0,6,5],[7,0,7,5]],"flags":["formulas_cached_only"]}
["（一）开标一览表"]
["项目名称：炼钢厂产线提质增效改造 (HG202218)二炼钢行车配电室干式变压器采购  \n项目编号：HG JY-G2024071"]
["序号","物料描述","规格型号","计量单位","定尺尺寸\n其他要求","计划数量","建议交货日期","供货地点","备注","含税单价(元)","含税总价\n(元)","生产厂家","备注   "]
[1,"干式变压器","SCB18-2500/6","台","6±2x2.5%/0.4~0.23kV; D,yn11; Uk=6%; 2500kVA;   一级能效;   ",2,"2024.6.30","二炼钢","标牌+TR01~02，具体参数详见图纸"]
["注：1、投标报价含税，税率13%                                                                                     \n2、生产厂家要求全称填写准确无误"]
["投标人：                         （盖单位章）                    "]
["法定代表人或其委托代理人：        （签字或盖章）              "]
["日期："]

{"sheet":"二、分项报价表","index":1,"n_rows":23,"n_cols":8,"rows_kept":23,"merged":[[0,0,0,7],[1,0,1,7],[2,0,3,0],[2,1,3,1],[2,2,3,2],[2,4,3,4],[2,6,3,6],[2,7,3,7],[19,0,19,7],[20,0,20,5],[21,0,21,5],[22,0,22,5]],"flags":["formulas_cached_only"]}
["（二）分项报价表"]
["项目名称：炼钢厂产线提质增效改造 (HG202218)二炼钢行车配电室干式变压器采购  \n项目编号：HG JY-G2024071"]
["序号","名  称","型号规格","数量","生产厂家","单价","金额（元）","备注"]
[{"$nulls":3},"(台/件)",null,"（元）"]
[1]
[]
[]
[]
[]
[null,"小计（元）"]
[2]
[]
[null,"小计（元）"]
[3]
[4]
[null,"……"]
[null,"……"]
[null,"合计（元）"]
[]
["注：1、如免去某些费用，请在报价栏内注明“免费”字样（所有报价均为含税价）\n2、投标人必须对每一面柜、台、箱按本表进行详细的分项报价。"]
["投标人：                         （盖单位章）                    "]
["法定代表人或其委托代理人：        （签字或盖章）              "]
["日    期：      年      月      日                "]

{"sheet":"三、偏离表","index":2,"n_rows":18,"n_cols":4,"rows_kept":18,"merged":[[0,0,0,3],[1,0,1,3],[3,0,5,0],[3,3,5,3],[6,0,13,0],[6,3,13,3],[14,0,14,3],[15,0,15,3],[16,0,16,3],[17,0,17,3]],"flags":["formulas_cached_only"]}
["   （三）商务/技术偏离表"]
["项目名称：炼钢厂产线提质增效改造 (HG202218)二炼钢行车配电室干式变压器采购  \n项目编号：HG JY-G2024071"]
["偏离类型","序号","招标方要求内容","投标方偏离内容"]
["商务偏离"]
[]
[]
["技术偏离"]
{"$rows_empty":7}
["注：1、如商务无偏离则在偏离内容单元格中填写”无”。如有偏离按序号和招标方要求内容有序对应填写，后将本单位偏离内容按序号顺序填写在一个单元格中。\n    2、如技术无偏离则在偏离内容单元格中填写”无”。如有偏离按序号和招标内容（规格描述、技术要求及标准、交货期等内容）有序对应填写，后将本单位偏离内容按序号顺序填写在一个单元格中。\n"]
["投标人：                         （盖单位章）                    "]
["法定代表人或其委托代理人：        （签字或盖章）              "]
["日    期：      年      月      日                "]