{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["Macro1","清单表"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Macro1","index":0,"n_rows":0,"n_cols":0,"rows_kept":0,"hidden":true,"flags":["formulas_cached_only"]}

{"sheet":"清单表","index":1,"n_rows":16,"n_cols":9,"rows_kept":16,"merged":[[0,0,0,8]],"flags":["formulas_cached_only"]}
["    采购清单表"]
["序号","资材编号","资材名称","规格描述","技术参数","单位","数量","交货时间","使用部门"]
[1,"4100100329","控制电缆","AVSS 0.75MM2 JASO D6n-94",null,"米","200","2021-08-27","高炉"]
[2,"4100100021","电缆","RVV4*1.5",null,"米","500","2021-08-27","烧结"]
[3,"4100100016","电焊钳线","YH25 平方","导体材质：氧铜 绝缘材质：天然橡胶","米","200","2021-08-27","能源厂部"]
[4,"4100100015","电焊钳线","50平方",null,"米","100","2021-08-27","180厂部"]
[5,"4100100113","屏敞电缆","RVVP 7*0.75",null,"米","200","2021-08-27","烧结"]
[6,"4100100179","屏蔽电缆","RVVP","4*1","米","400","2021-08-27","能源厂部"]
[7,"4100100108","屏蔽电缆","RVVP 3*0.75",null,"米","500","2021-08-27","能源厂部"]
[8,"4100100145","橡套电缆","YZ 2*1.5",null,"米","1000","2021-08-27","180厂部"]
[9,"4100100114","软塑铜线","BVR 2.5平方",null,"米","400","2021-08-27","物流中心"]
[10,"4100100148","橡套电缆","YZ 3*1.5+1*1",null,"米","500","2021-08-27","89油管车丝委外"]
[11,"4100100327","橡套电缆","YZ 2*4",null,"米","200","2021-08-27","物流中心"]
[12,"4100100041","电力软电缆","VVR2*1.0",null,"米","500","2021-08-27","219厂部"]
[13,null,"电力电缆","ZC-YJV-1(3*35+1*16)",null,"米",380,"2021-08-27","技改工程部"]
[14,null,"电力电缆","ZC-YJV-1(3*70+1*35)",null,"米",360,"2021-08-27","技改工程部"]