{"text_format":"3","workbook":"xls","n_sheets":4,"sheets":["Macro1","一、开标一览表","二、商务 技术偏离表","Sheet1"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Macro1","index":0,"n_rows":0,"n_cols":0,"rows_kept":0,"hidden":true,"flags":["formulas_cached_only"]}

{"sheet":"一、开标一览表","index":1,"n_rows":11,"n_cols":13,"rows_kept":11,"merged":[[0,0,0,12],[1,0,1,12],[7,0,7,8],[8,0,8,8],[9,0,9,8],[10,0,10,8]],"flags":["formulas_cached_only"]}
["（一）开标一览表"]
["项目名称：2022年8月电磁备件采购项目                     项目编号：HGCGD22113"]
["序号","资材编号","资材名称","规格描述","技术参数","单位","数量","执行标准","申请部门","交货期","含税单价（元）","生产厂家","备注"]
[1,4100400046,"电缆卷筒弹簧","1.6*80*16400","1.6*80*16400","只",4,null,"炼钢厂部","2022-09-30"]
[2,6300100117,"PLC逻辑可控模块","GDPLC-TDBC","抗干扰，使用寿命长。内装优化程序；输入12点，输出8点10A继电器常开触点；带2路高速脉冲输入2AD,带2路模拟量输入2AD，带485、422双通讯接口，支持GX编程软件。工作电源DC24V，采用高性能工业级芯片设计，可适应高电磁干扰的工作环境。","只",1,"IEC61508","管加工厂部","2022-09-30"]
[3,6100900059,"无触点停电保持柜","LMOBM-200/20-C-UPS-T","进线AC380，输出直流电压DC220V,采用恒电流控制，输出电流可调,最大220A，停电保持时间20MIN，控制器S7-200,电器元件为Schneider","台",3,"JB/T8680-2008","720厂部/物流中心","2022-10-27"]
[4,6700400038,"永磁吸吊器","YX1-0.5G",null,"台",1,"CB/T3555-1994","检验检测中心","2022-09-30"]
["注：1、投标报价含税，税率13%                                                                                     2、生产厂家要求全称填写准确无误"]
["投标人：                         （盖单位章）                    "]
["法定代表人或其委托代理人：        （签字或盖章）              "]
["日    期：      年      月      日                "]

{"sheet":"二、商务 技术偏离表","index":2,"n_rows":18,"n_cols":4,"rows_kept":18,"merged":[[0,0,0,3],[1,0,1,3],[3,0,6,0],[3,3,6,3],[7,0,13,0],[7,3,13,3],[14,0,14,3],[15,0,15,3],[16,0,16,3],[17,0,17,3]],"flags":["formulas_cached_only"]}
["                   （二）商务/技术偏离表"]
["项目名称：2022年8月电磁备件招标采购项目      项目编号：HGCGD22113 "]
["偏离类型","序号","招标内容","偏离内容"]
["商务偏离"]
[]
[]
[]
["技术偏离"]
[]
[]
[]
[]
[]
[]
["注：1、如商务无偏离则在偏离内容填写”无”。如有偏离先按序号和招标内容有序对应填写，后在偏离内容栏中按序号顺序填写准确清楚。\n    2、如技术无偏离则在偏离内容填写”无”。如有偏离先按序号和招标内容（物料描述、标准、交货期等内容）有序对应填写，后在偏离内容栏中按对应序号顺序填写准确清楚。\n"]
["投标人：                         （盖单位章）                    "]
["法定代表人或其委托代理人：        （签字或盖章）              "]
["日    期：      年      月      日                "]

{"sheet":"Sheet1","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}