{"text_format":"3","workbook":"xls","n_sheets":5,"sheets":["Macro1","一、开标一览表","二、分项报价表","三、商务 技术偏离表","Sheet1"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Macro1","index":0,"n_rows":0,"n_cols":0,"rows_kept":0,"hidden":true,"flags":["formulas_cached_only"]}

{"sheet":"一、开标一览表","index":1,"n_rows":8,"n_cols":12,"rows_kept":8,"merged":[[0,0,0,11],[1,0,1,11],[4,0,4,8],[5,0,5,8],[6,0,6,8],[7,0,7,8]],"flags":["formulas_cached_only"]}
["（一）开标一览表"]
["项目名称：2023年4月检修电源箱年度采购项目                    项目编号：HGJY-G2023033"]
["序号","资材编号","资材名称","规格描述","技术参数","执行标准","单位","数量","申请部门","交货期","含税单价（元）","生产厂家"]
[1,6100900134,"检修电源箱","400*500*200；带电器元件","安装方式：户内壁挂明装；电源箱材料：304不锈钢 δ=1.5mm。电器元件清单及要求：1、4P 125A 漏电塑壳断路器1个； 2、3P 63A断路器2个； 3、3P 32A 断路器2个； 4、2P 16A 断路器1个； 5、2P 10A 断路器1个； 6、63A 5极 AC380V工业插座插头2套； 7、32A 5极 AC380V 工业插座插头2套； 8、16A 3极 AC220V工业插座插头1套； 9、16A  AC36V工业插座插头1套； 10、380/36V 300VA 变压器1台； 11、 PE母排一根。要求以上元器件采用国产优质品牌产品并按附图成套安装好，电源指示灯、电缆等符合电气一般设计规范，执行标准：GB7251.1-2013。","审核图纸","台",95,"各分厂","按采购合同计划交货期交货"]
["注：1、投标报价含税，税率13%                                                                                     2、生产厂家要求全称填写准确无误"]
["投标人：                         （盖单位章）                    "]
["法定代表人或其委托代理人：        （签字或盖章）              "]
["日    期：      年      月      日                "]

{"sheet":"二、分项报价表","index":2,"n_rows":13,"n_cols":8,"rows_kept":13,"merged":[[0,0,0,7],[1,0,1,7],[9,0,9,7],[10,0,10,7],[11,0,11,7],[12,0,12,7]],"flags":["formulas_cached_only"]}
[" （二）单台分项报价表"]
["项目名称：2023年4月检修电源箱年度采购项目        项目编号：HGJY-G2023033"]
["序号","物料名称","品牌","单位","数量","单价（元）","金额（元）","备注"]
[]
[]
[]
[]
[]
[null,"合计"]
[]
["投标人：                         （盖单位章）                    "]
["法定代表人或其委托代理人：        （签字或盖章）              "]
["日    期：      年      月      日                "]

{"sheet":"三、商务 技术偏离表","index":3,"n_rows":22,"n_cols":4,"rows_kept":22,"merged":[[0,0,0,3],[1,0,1,3],[3,0,6,0],[3,3,6,3],[7,0,17,0],[7,3,17,3],[18,0,18,3],[19,0,19,3],[20,0,20,3],[21,0,21,3]],"flags":["formulas_cached_only"]}
["                   （三）商务/技术偏离表"]
["项目名称：2023年4月检修电源箱年度采购项目        项目编号：HGJY-G2023033"]
["偏离类型","序号","招标内容","偏离内容"]
["商务偏离"]
[]
[]
[]
["技术偏离"]
{"$rows_empty":10}
["注：1、如商务无偏离则在偏离内容填写”无”。如有偏离先按序号和招标内容有序对应填写，后在偏离内容栏中按序号顺序填写准确清楚。\n    2、如技术无偏离则在偏离内容填写”无”。如有偏离先按序号和招标内容（物料描述、标准、交货期等内容）有序对应填写，后在偏离内容栏中按对应序号顺序填写准确清楚。\n"]
["投标人：                         （盖单位章）                    "]
["法定代表人或其委托代理人：        （签字或盖章）              "]
["日    期：      年      月      日                "]

{"sheet":"Sheet1","index":4,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}