{"text_format":"3","workbook":"xls","n_sheets":4,"sheets":["Macro1","一、开标一览表","二、商务 技术偏离表","Sheet1"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Macro1","index":0,"n_rows":0,"n_cols":0,"rows_kept":0,"hidden":true,"flags":["formulas_cached_only"]}

{"sheet":"一、开标一览表","index":1,"n_rows":15,"n_cols":13,"rows_kept":15,"merged":[[0,0,0,12],[1,0,1,12],[11,0,11,8],[12,0,12,8],[13,0,13,8],[14,0,14,8]],"flags":["formulas_cached_only"]}
["（一）开标一览表"]
["项目名称：2024年4月电磁备件采购项目                     项目编号：HG JY-G2024042"]
["标包号","资材编号","资材名称","规格描述","技术参数","单位","数量","执行标准","申请部门","交货期","含税单价（元）","生产厂家","备注"]
[1,4100400047,"电缆卷筒弹簧","JTA100-25-2-Ⅱ","JTA100-25-2-Ⅱ型电缆卷筒用弹簧","只",3,"JT/T806.4-2011","物流中心","2024-07-11"]
[2,4100400048,"电缆卷筒滑环","JTA100-20-2","JTA100-20-2型电缆卷筒用滑环","只",3,"DL-478","物流中心","2024-07-11"]
[3,4100400049,"电缆卷筒全套绝缘胶木","JTA100-20-2","JTA100-20-2型电缆卷筒用全套绝缘胶木","套",3,"DL-478","物流中心","2024-07-11"]
[4,4100400050,"电缆卷筒碳刷架","JTA-100-20-2","JTA100-20-2型电缆卷筒用碳刷架","套",3,"DL-478","物流中心","2024-07-11"]
[5,4100400051,"电缆卷筒专用碳刷","JTA100-20-2","JTA100-20-2型电缆卷筒用专用碳刷","付",10,"DL-478","物流中心","2024-07-11"]
[6,6000400010,"永磁吸吊器","YX1-0.3",null,"台",1,"CB/T3555-1994","炼钢厂部","2024-06-11"]
[7,6100900059,"无触点停电保持柜","LMOBM-200/20-C-UPS-T","进线AC380，输出直流电压DC220V,采用恒电流控制，输出电流可调,最大220A，停电保持时间20MIN，控制器S7-200,电器元件为Schneider","台",5,"JB/T8680-2008","340热轧","2024-06-26"]
[8,5712300071,"环链","主环45*140*270 链环35*85*145 L=870mm","20Mn GB5802-1986","根",8,"GB5802-1986","340热轧","2024-07-11"]
["注：1、投标报价含税，税率13%                                                                                     2、生产厂家要求全称填写准确无误"]
["投标人：                         （盖单位章）                    "]
["法定代表人或其委托代理人：        （签字或盖章）              "]
["日    期：      年      月      日                "]

{"sheet":"二、商务 技术偏离表","index":2,"n_rows":22,"n_cols":4,"rows_kept":22,"merged":[[0,0,0,3],[1,0,1,3],[3,0,6,0],[3,3,6,3],[7,0,17,0],[7,3,17,3],[18,0,18,3],[19,0,19,3],[20,0,20,3],[21,0,21,3]],"flags":["formulas_cached_only"]}
["                   （二）商务/技术偏离表"]
["项目名称：2024年4月电磁备件采购项目         项目编号：HG JY-G2024042"]
["偏离类型","序号","招标内容","偏离内容"]
["商务偏离"]
[]
[]
[]
["技术偏离"]
{"$rows_empty":10}
["注：1、如商务无偏离则在偏离内容填写”无”。如有偏离先按序号和招标内容有序对应填写，后在偏离内容栏中按序号顺序填写准确清楚。\n    2、如技术无偏离则在偏离内容填写”无”。如有偏离先按序号和招标内容（物料描述、标准、交货期等内容）有序对应填写，后在偏离内容栏中按对应序号顺序填写准确清楚。\n"]
["投标人：                         （盖单位章）                    "]
["法定代表人或其委托代理人：        （签字或盖章）              "]
["日    期：      年      月      日                "]

{"sheet":"Sheet1","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}